## Basic estimate
Category | Item | Quantity | Unit | 2019 unit price | 2019 total price | Notes
Site work | Site preparation for 24*38*4 foundation walls | 1 | unit | 2385.05 | 2385.05 | Clearing, excavating, backfilling, rough grading, mobilization/demobilization 34*27*4 is not in the simplified part of the book.
| 4-inch concrete sidewalk | 395 | ft^2 | 11.53 | 4554.35 | Gravel, fill, grading, concrete, edging
| 4-inch concrete driveway | 900 | ft^2 | 7.5 | 6750 | Excavation, crushed stone, grading, concrete, edging
| 4-foot chain-link fence | 390 | ft | 18.2 | 7098
| 4-foot chain-link gate | 3 | unit | 264 | 792 | Rolling gate is not in the simplified part of the book.
Foundation | 12-inch foundation wall | 488 | ft^2 | 19.65 | 9589.2 | Concrete, forms, reinforcement, pouring, dampproofing, insulation, anchor bolts, sill plates
| 4-inch slab | 858 | ft^2 | 4.05 | 3474.9 | Concrete, pouring, gravel, vapor barrier, forms, wire fabric, trowel finish
Framing | 2*6@16 exterior studs | 976 | ft^2 | 5.32 | 5192.32 | Studs, plates, bracing, sheathing, connectors
| Wood roof trusses at 24-inch spacing | 918 | ft^2 | 6.64 | 6095.52 | Trusses, fascia board, sheathing, furring, rafter ties
| 2*4@16 interior studs | 784 | ft^2 | 2.13 | 1669.92 | Studs, plates, bracing
Exterior walls | Vinyl siding | 976 | ft^2 | 6.25 | 6100 | Siding, backer, corners, building wrap
| R-10 rigid floor insulation | 858 | ft^2 | 2.42 | 2076.36
| R-30 spray-foam wall insulation | 976 | ft^2 | 4.78 | 4665.28
| R-38 batt ceiling insulation | 858 | ft^2 | 1.22 | 1046.76 | R-49 is not in the book.
| 48*42 sliding windows | 9 | unit | 1010.93 | 9098.37 | Windows, trim, paint, caulking, grille 48*48, 48*36, and 48*24 sliding windows are not in the simplified part of the book.
| 36*80 solid wood exterior doors | 1 | unit | 902.19 | 902.19 | Door, frame, casing, sill, hinges, average quality, weatherstripping, paint Metal door is not in the simplified part of the book.
Roofing | Asphalt shingles | 918 | ft^2 | 5.03 | 4617.54 | Shingles, drip edge, building paper, ridge shingles, soffit/fascia, rake trim, rake-trim painting, gutter, downspouts, ridge vent Metal roofing is not in the simplified part of the book.
Interiors | 0.5-inch drywall | 2544 | ft^2 | 3.14 | 7988.16 | Drywall, finish, corners, painting, trim painting, molding
| Suspended ceiling | 858 | ft^2 | 5.3 | 4547.4 | Suspension system, board, carrier channels, wire hangers
| 32*80 solid doors | 5 | unit | 747.46 | 3737.3 | Door, frame, moldings, trim paint, hinges, lockset, priming, painting 36*80 solid door is not in the simplified part of the book.
| 32*80 hollow doors | 2 | unit | 752.22 | 1504.44 | Door, frame, moldings, trim paint, hinges, lockset, priming, painting 36*80 hollow door is not in the simplified part of the book.
| Vinyl composition tile | 858 | ft^2 | 2.23 | 1913.34
Specialties | Average-grade kitchen | 31 | ft | 403.01 | 12493.31 | Top cabinets, bottom cabinets, solid-surface countertop, blocking, soffit framing, soffit drywall, drywall painting
| Double-bowl steel kitchen sink | 1 | unit | 1560 | 1560
| 40-gallon electric water heater | 1 | unit | 1440 | 1440
Mechanical | Four-fixture bathrooms | 2 | unit | 9021.98 | 18043.96 | 19 separate pay items
| Natural-gas HVAC for up to 1200 ft^2 | 1 | unit | 11602.94 | 11602.94 | Heat pump is not in the simplified part of the book.
Electrical | 200-ampere service | 1 | unit | 1868.45 | 1868.45 | Weather cap, service entrance cable, meter socket, ground rod, ground cable, panel board
| Wiring |  |  |  |  | Omitted because it's tedious and I'm lazy
| Two-bar LED lights | 7 | unit | 550 | 3850 | LED panels are not in the book.
| Total |  |  |  | 146657.06 | This includes subcontractor overhead/profit of 10 percent, and is an average for the whole country.

## Adjustments
Basic estimate | 146657.06
Location factor | 0.92 | Wilkes-Barre
Inflation factor | 1.4003 | Producer price index PCU23640023640011 (new nonresidential building construction, general contractors, northeast region) from January 2019 to January 2026
General contractor's overhead/profit factor | 1.15 | This number is used in the most-simplified part of the book. However, it can range from 1.35 for a small 500-k$ contractor to 1.05 for a large 100-M$ contractor.
Adjusted estimate | 217274.3189